Question Bank (I scheme)

Name of subject :  CONTROL SYSTEM AND PLC

Subject code       :   22531                                                                               Unit Test : I

Semester             :   5			                                                               Course  : EJ5I

Chapter 1: Basics of control system (12 marks)

2 marks

- Define open loop and closed loop system with example.

- Give significance of Laplace transform in control system.

- Find the Laplace transform of f(t)= t.

- Define order of the system and find order of following system                                    T(s)   =         _______(S+5)_______

S(S+2) (S+4)

4 marks

5) Derive the transfer function of system using block reduction techniques.

6)  For the electrical system shown in fig. No.1, Derive the transfer function Vo(s)/Vi(s)

7) Compare  open loop and closed loop system.

8) Define transfer function and derive the transfer function for a general closed loop control  system.

9) State any four block diagram reduction rules.

Chapter 2: Time domain stability analysis ( 16 marks)

2 marks

10)  Define the terms : i) Poles ii) Zeros

- For a system having closed loop transfer function for unit step i/p determine

1) wn     2) damping factor

T(S) =        _______64________

S2 + 5S + 64

- Define i) steady state error  ii) Type of the system

- Define i) damping ratio  ii) transient response

- Define the following terms Stable System and Unstable System.

- State Routh’s stability criterion. State their advantages.

4 marks

16)  For the given transfer function C(s)/R(s) = (S+2)/S(S2+ 2S+ 2)(S2+7S+12)

Find Poles, Zeros & Characteristic Equation

- Draw the time response of second order underdamped control system with neat  labeling.

- Derive unit step response of 1st order system.Draw the response.

- A second order system is given by

T(S) =       _______25________

S2 + 6S + 25

Determine time domain specifications.

i) Rise time ii) peak time iii) settling time iv) peak overshoot

- Find error coefficients and steady state error for the transfer function

G(s).H(s) =          10 (s+1)_______

s.(s+2)(s+5)

where r(t)=3+10t

- What are the standard test signals used in time domain analysis and state the mathematical statement for each.

- Determine the stability of the system whose characteristic equation is given as

S6+2S5+8S4+12S3+20S2+16S+16=0

- A system has      G(s).H(s) = _______ _K__________

S(S+2) (S+4) (S+8)

where K is positive. Determine the range of ‘K’ for the system to be stable.

Chapter 3: Process Controllers ( 10 marks)

2 marks

24) Define the following terms:-

*Proportional band    * offset

25)  Compare P, I & D control action on the basis of

i) nature of output  ii) equation

4 marks

26) With neat diagram, describe on-off controller

27) Explain neutral zone with neat diagram.

28) Explain the PID control action.

29) List two application & two drawbacks of PI controller.

30) Compare P control action with PI control action.